HNL Maintnence

Opened Radome and drained the lines.  Found water in the center line (purple), top (red) and Bottom (orange). Drained water from all lines.

Orange line looked like the union was cross threaded at the joint into the line.  Undid and re connected. Recommend replacing unions with metal if possible.